{"text_format":"3","workbook":"xlsx","n_sheets":19,"sheets":["B.1 工程项目招标控制价封面(封-2)【四川里伍铜业股份有~","C.2 工程项目招标控制价扉页(扉-2)【四川里伍铜业股份有~","E.1 建设项目招标控制价汇总表(表-02)【四川里伍铜业股~","E.2 单项工程招标控制价汇总表(表-03)","F.1.1 分部分项工程清单计价表(表-08)【装修工程】","F.1.2 单价措施项目清单计价表(表-08)【装修工程】","F.4 总价措施项目清单计价表(表-11)【装修工程】","G.1 其他项目清单计价汇总表(表-12)【装修工程】","H 规费、税金项目清单计价表(表-13)【装修工程】","F.1.1 分部分项工程清单计价表(表-08)【安装工程】","F.1.2 单价措施项目清单计价表(表-08)【安装工程】","F.4 总价措施项目清单计价表(表-11)【安装工程】","G.1 其他项目清单计价汇总表(表-12)【安装工程】","H 规费、税金项目清单计价表(表-13)【安装工程】","F.1.1 分部分项工程清单计价表(表-08)【电梯工程】","F.1.2 单价措施项目清单计价表(表-08)【电梯工程】","F.4 总价措施项目清单计价表(表-11)【电梯工程】","G.1 其他项目清单计价汇总表(表-12)【电梯工程】","H 规费、税金项目清单计价表(表-13)【电梯工程】"],"read":"whole","date_system":"1900"}

{"sheet":"B.1 工程项目招标控制价封面(封-2)【四川里伍铜业股份有~","index":0,"n_rows":8,"n_cols":7,"rows_kept":8,"merged":[[0,1,0,5],[1,0,1,6],[2,0,2,2],[2,4,2,6],[3,0,3,6],[4,0,4,1],[4,2,4,4],[4,5,4,6],[5,0,5,6],[6,0,6,6],[7,0,7,6]]}
["","四川里伍铜业股份有限公司康定办公楼改造",{"$nulls":4},"工程"]
["招标控制价"]
["招  标  人:",null,null,"",""]
["         （单位盖章）"]
["造价咨询人:",null,"",null,null,""]
["          (单位盖章)\n"]
[""]
["封-2"]

{"sheet":"C.2 工程项目招标控制价扉页(扉-2)【四川里伍铜业股份有~","index":1,"n_rows":13,"n_cols":23,"rows_kept":13,"merged":[[0,0,0,4],[0,5,0,19],[0,20,0,22],[1,0,1,22],[2,0,2,5],[2,6,2,21],[3,0,4,5],[3,6,4,20],[3,21,4,22],[5,0,5,2],[5,3,5,6],[5,7,5,13],[5,14,5,17],[5,18,5,22],[6,1,6,7],[6,8,6,14],[6,15,6,22],[7,0,7,1],[7,2,7,8],[7,9,7,12],[7,13,7,16],[7,17,7,22],[8,0,8,2],[8,3,8,8],[8,9,8,15],[8,16,8,22],[9,0,9,1],[9,2,9,7],[9,8,9,11],[9,12,9,16],[9,17,9,22],[10,1,10,9],[10,10,10,15],[10,16,10,22],[11,0,11,3],[11,4,11,10],[11,11,11,18],[11,19,11,22],[12,0,12,22]]}
["",{"$nulls":4},"四川里伍铜业股份有限公司康定办公楼改造",{"$nulls":14},"工程"]
["招 标 控 制 价"]
["招标控制价(小写):",{"$nulls":21},""]
["(大写):",{"$nulls":20},""]
[]
["招　标　人:",null,null,"",{"$nulls":3},"",{"$nulls":6},"造价咨询人:",{"$nulls":3},""]
["","(单位盖章)",{"$nulls":6},"",{"$nulls":6},"(单位盖章)"]
["法定代表人\n或其授权人:",null,"",{"$nulls":6},"",{"$nulls":3},"法定代表人\n或其授权人:",{"$nulls":3},""]
["       ",null,null,"(签字或盖章)",{"$nulls":5},"",{"$nulls":6},"(签字或盖章)"]
["编　制　人:",null,"",{"$nulls":5},"",{"$nulls":3},"复　核　人:",{"$nulls":4},""]
["","(造价人员签字盖专用章)",{"$nulls":8},"",{"$nulls":5},"(造价工程师签字盖专用章)"]
["编 制 时 间:",{"$nulls":3},"",{"$nulls":6},"复 核 时 间:",{"$nulls":7},""]
["扉-2    "]

{"sheet":"E.1 建设项目招标控制价汇总表(表-02)【四川里伍铜业股~","index":2,"n_rows":7,"n_cols":6,"rows_kept":7,"merged":[[0,0,0,5],[1,0,1,3],[1,4,1,5],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,2,5],[6,0,6,1]]}
["建设项目招标控制价汇总表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造",{"$nulls":3},""]
["序号","单项工程名称 ","金额（元）","其中: (元)"]
[{"$nulls":3},"暂估价","安全文明\n  施工费  ","规费"]
["","单项工程1",null,""]
["","工程垃圾、拆除垃圾外运及处置费"]
["合　　计",null,null,""]

{"sheet":"E.2 单项工程招标控制价汇总表(表-03)","index":3,"n_rows":8,"n_cols":6,"rows_kept":8,"merged":[[0,0,0,5],[1,0,1,3],[1,4,1,5],[2,0,3,0],[2,1,3,1],[2,2,3,2],[2,3,2,5],[7,0,7,1]]}
["单项工程招标控制价汇总表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1",{"$nulls":3},""]
["序号","单位工程名称 ","金额（元）","其中:(元)"]
[{"$nulls":3},"暂估价","安全文明\n 施工费 ","规费"]
["1","装修工程"]
["2","安装工程"]
["3","电梯工程"]
["合　　计"]

{"sheet":"F.1.1 分部分项工程清单计价表(表-08)【装修工程】","index":4,"n_rows":33,"n_cols":9,"rows_kept":33,"merged":[[0,0,0,8],[1,0,1,4],[1,5,1,6],[1,7,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[32,0,32,6]]}
["分部分项工程量清单与计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【装修工程】",{"$nulls":4},"标段：",null,""]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其   中"]
[{"$nulls":8},"暂估价"]
["",""," 一、改造","","","","","",""]
["1","011602002001","拆除原120厚钢筋砼楼板","1.拆除原120厚钢筋砼楼板\n2.其他：满足设计、招标文件、相关图集、现行施工及验收规范等相关要求","m3","1.07",null,null,""]
["2","011610001002","拆除原实木门","1.拆除原实木门","m2","19.2",null,null,""]
["3","011605001003","木地板拆除","1.拆除原地面砖，含粘贴层","m2","130.82",null,null,""]
["4","011604001004","水泥砂浆地面拆除","1. 水泥砂浆地面拆除","m2","130.82",null,null,""]
["5","010401004005","多孔砖墙 M7.5","1.砖品种、规格、强度等级:页岩多孔砖\n2.墙体类型:综合\n3.砂浆强度等级、配合比: M7.5","m3","11.37",null,null,""]
["6","011204003006","墙面砖","1.10厚600x450面砖，1:1防水砂浆（掺5%防水剂）勾缝\n2.4厚强力胶粉泥粘接层，挤压严实\n3.7厚1:2.5防水砂浆（掺5%防水剂）压实磨平\n4.5厚1:3水泥砂浆打底，扫毛或划出纹道\n5.水泥浆水灰比0.4~0.5结合层一道","m2","30.26",null,null,""]
["7","011406001007","水性无机矿物涂料","1.水性无机矿物涂料面层（内墙防潮性），一底两面\n2.分遍满刮腻子达2-3mm厚，找平，磨光\n3.7厚1:2.5砂浆砂浆压实磨平\n4.8厚1:3水泥砂浆打底，扫毛或划出纹道\n5.水泥浆水灰比0.4~0.5结合层一道\n6.墙基层处理、清理","m2","27.6",null,null,""]
["8","011601001008","开洞口","1.切割\n2.原砖墙开洞口","m3","4.99",null,null,""]
["9","010502002009","构造柱","1.构造柱，商混c20\n2.其他：满足设计、招标文件、相关图集、现行施工及验收规范等相关要求","m3","1.14",null,null,""]
["10","010515001010","现浇构件钢筋 HRB400 直径φ≤10","1.钢筋种类、规格：HRB400 直径φ≤10\n2.钢筋的除锈、连接方式、搭接综合考虑，费用包括在综合单价内\n3.钢筋连接方式无论采用绑扎、焊接、机械连接、套筒连接等按规范要求实施，其费用包括在综合单价中\n4.综合考虑埋设的方式,无论采用预留、植筋或其他方式施工，其所有费用均包括在所报综合单价中不再另行计取\n5.弧形构件钢筋综合考虑，进入综合单价中\n6.包含钢筋笼制作、吊装费用\n7.其他：投标人应充分考虑满足设计要求、招标文件、《技术标准及要求》、满足设计规范、相关图集、合同等相关要求","t","0.281",null,null,""]
["11","010515001011","现浇构件钢筋 HRB400 直径φ12～16","1.钢筋种类、规格：钢筋HRB400 φ12～16\n2.钢筋的除锈、连接方式、搭接综合考虑，费用包括在综合单价内\n3.钢筋连接方式无论采用绑扎、焊接、机械连接、套筒连接等按规范要求实施，其费用包括在综合单价中\n4.综合考虑埋设的方式,无论采用预留、植筋或其他方式施工，其所有费用均包括在所报综合单价中不再另行计取\n5.弧形构件钢筋综合考虑，进入综合单价中\n6.包含钢筋笼制作、吊装费用\n7.其他：投标人应充分考虑满足设计要求、招标文件、《技术标准及要求》、满足设计规范、相关图集、合同等相关要求","t","1.171",null,null,""]
["12","010515001012","现浇构件钢筋 钢筋HPB300 φ≤10","1.钢筋种类、规格：钢筋HPB300 φ≤10\n2.钢筋的除锈、连接方式、搭接综合考虑，费用包括在综合单价内\n3.钢筋连接方式无论采用绑扎、焊接、机械连接、套筒连接等按规范要求实施，其费用包括在综合单价中\n4.综合考虑埋设的方式,无论采用预留、植筋或其他方式施工，其所有费用均包括在所报综合单价中不再另行计取\n5.弧形构件钢筋综合考虑，进入综合单价中\n6.包含钢筋笼制作、吊装费用\n7.其他：投标人应充分考虑满足设计要求、招标文件、《技术标准及要求》、满足设计规范、相关图集、合同等相关要求","t","0.01",null,null,""]
["13","011406001013","天棚无机涂料","1.刷（喷）水性无机矿物涂料一底两面（内墙防潮性）\n2.分遍满刮腻子达2-3mm厚，找平，磨光\n3.3厚1:2水泥石灰砂浆找平\n4.5厚1:3水泥石灰砂浆打底\n5.钢筋混凝土屋面板底面基层找补、处理","m2","30.17",null,null,""]
["14","011104002014","木地板","1.15厚实木地板\n2.3厚耐热聚乙烯（EPE）高弹泡沫垫层\n3.RayChem发热电缆（MSR电拌热带，维持温度105°，耐受温度135°，自动限制加热温度），10平方米范围设置一套温控器，离地面1200mm（另列）\n4.5厚地暖PE铝箔反射膜及钢丝网\n5.50厚XPS保温层\n6.1:3水泥砂浆找平层，最薄处不小于20mm；","m2","130.82",null,null,""]
["15","031005006015","石墨烯发热膜","1.材料种类：石墨烯地暖\n2.其他：满足设计及规范要求\n3.含连接口及温度探头","m2","130.82",null,null,""]
["16","010603003016","钢柱","1.柱类型：簿壁方形钢管，详图纸，满足设计及规范要求\n2.钢材品种、规格：Q235B，规格综合，详图纸，满足设计及规范要求 \n3.螺栓种类：详图纸，满足设计及规范要求 \n4.探伤要求：详图纸，满足设计及规范要求 \n5.防火要求：详图纸，满足设计及规范要求\n6.漆、栓钉等由投标人综合考虑投标报价，结算时单价不做调整","t","4.065",null,null,""]
["17","010604001017","钢梁","1.梁类型：热扎H型钢，详图纸，满足设计及规范要求\n2.钢材品种、规格：Q355B，规格综合，详图纸，满足设计及规范要求 \n3.螺栓种类：详图纸，满足设计及规范要求 \n4.探伤要求：详图纸，满足设计及规范要求 \n5.防火要求：详图纸，满足设计及规范要求\n6.漆、栓钉等由投标人综合考虑投标报价，结算时单价不做调整","t","2.26",null,null,""]
["18","010606013018","零星钢构件（预埋板、连接板）","1.类型：详图纸，满足设计及规范要求\n2.钢材品种、规格：规格综合，详图纸，满足设计及规范要求 \n3.螺栓种类：详图纸，满足设计及规范要求 \n4.探伤要求：详图纸，满足设计及规范要求 \n5.防火要求：详图纸，满足设计及规范要求\n6.漆、栓钉等由投标人综合考虑投标报价，结算时单价不做调整","t","2.56",null,null,""]
["19","010501004019","筏板基础  C30","1.混凝土种类 ：商品砼\n2.混凝土强度等级 ：C30\n3.砼泵送费投标人综合考虑在本项目报价中，无论采用何种方式均不作调整\n4.其他：满足设计及相关规范要求，满足现场施工要求","m3","9.07",null,null,""]
["20","010501001020","商品混凝土 C15 垫层","1.混凝土种类 ：商品砼\n2.混凝土强度等级 ：C15\n3.砼泵送费投标人综合考虑在本项目报价中，无论采用何种方式均不作调整\n4.其他：满足设计及相关规范要求，满足现场施工要求","m3","1.67",null,null,""]
["21","010504001021","直形墙 C30","1.混凝土种类 ：商品砼\n2.混凝土强度等级 ：C30\n3.砼泵送费投标人综合考虑在本项目报价中，无论采用何种方式均不作调整\n4.其他：满足设计及相关规范要求，满足现场施工要求","m3","7.45",null,null,""]
["22","010101002022","挖一般土方","1.土壤类别：详地勘报告（各类土、砖石结构、连砂石、基坑内砼杂物、生活垃圾、建筑垃圾）等综合\n2.大开挖、基坑、沟槽等均执行本项目综合单价结算时不调整，厚度综合考虑结算时不调整\n3.挖土方式：投标人自行考虑，并应对开挖后的基坑进行修整边坡壁面，满足施工规范，达到设计使用要求\n4.开挖出可利用资源（连砂石、砂等）处理权归甲方所有，投标人不得有异议\n5.钎探、人工捡底、碎土、筛土等产生的费用包含在综合单价中\n6.场内外运输，转运距离、堆场费用投标人综合考虑\n7.其他：满足设计及施工验收规范要求","m3","59.4",null,null,""]
["23","010103001023","回填方","1.土质、密实度、填方粒径要求：符合设计及规范要求\n2.回填方式：人工\n3.填筑的部位综合考虑，包括但不限于房心回填、顶板总平、地下基坑侧壁、室内回填等\n4.密实度、分层厚度要求：满足图纸及规范要求\n5.夯填：分层夯填,边角处须补夯密实\n6.运输距离：场内外运输、转运、堆场费用，由投标人综合考虑在综合单价中\n7.回填土不够部分由施工方自行负责，土源包含在综合报价内(含土的购买价、运输费、转运费）\n8.其他：满足设计及施工验收规范要求","m3","26.54",null,null,""]
["24","010103002024","余方弃置","1.废弃料品种：综合\n2.外弃方运输：投标人自行综合考虑，但必须符合当地相关部门要求，并承担一切费用\n3.建渣外运需满足当地关于土方外运环保、车辆密闭等要求、外运手续等政策性文件要求，土方堆场等费用投标人综合考虑进入报价\n4.未尽事宜符合设计及规范规定要求","m3","16.27",null,null,""]
["25","010201001025","砂夹石层回填","1.密实度要求：符合设计及规范要求\n2.填方材料品种：砂夹石\n3.填方粒径要求 ：符合设计及规范要求\n4.填方来源、运距：综合考虑","m3","16.59",null,null,""]
["","","分部小计","","","","",null,""]
["合　　计",{"$nulls":7},""]

{"sheet":"F.1.2 单价措施项目清单计价表(表-08)【装修工程】","index":5,"n_rows":18,"n_cols":9,"rows_kept":18,"merged":[[0,0,0,8],[1,0,1,4],[1,5,1,6],[1,7,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[17,0,17,6]]}
["单价措施项目清单与计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【装修工程】",{"$nulls":4},"标段：",null,""]
["序 号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["","","脚手架工程","","","","","",""]
["1","011701003034","里脚手架","1.搭设方式:综合 \n2.搭设高度:综合 \n3.脚手架材质:综合\n4.满足设计、规范及招标技术要求\n5.其它：投标人应充分考虑满足招标文件、《技术标准及要求》、满足设计规范、合同的要求","m2","30.17",null,null,""]
["","","小计","","","",null,null,""]
["","","混凝土模板及支架（撑）","","","",null,null,""]
["2","011702003035","构造柱模板","1.使用部位：构造柱\n2.支模高度：各种高度综合\n3.模版类型：木模、组合钢模板、竹胶板等综合\n4.支架材料：钢管、竹、木支架等综合\n5.本项目投标人应根据设计图、施工组织设计、现场实际情况综合报价，不论采用何种支模方式该综合单价结算不作调整","m2","16.48",null,null,""]
["3","011702001036","基础模板","1.使用部位：筏板基础\n2.支模高度：各种高度综合\n3.模版类型：木模、组合钢模板、竹胶板等综合\n4.支架材料：钢管、竹、木支架等综合\n5.本项目投标人应根据设计图、施工组织设计、现场实际情况综合报价，不论采用何种支模方式该综合单价结算不作调整","m2","9.36",null,null,""]
["4","011702001037","垫层模板","1.使用部位：垫层\n2.支模高度：各种高度综合\n3.模版类型：木模、组合钢模板、竹胶板等综合\n4.支架材料：钢管、竹、木支架等综合\n5.本项目投标人应根据设计图、施工组织设计、现场实际情况综合报价，不论采用何种支模方式该综合单价结算不作调整","m2","1.64",null,null,""]
["5","011702011038","直形墙","1.使用部位：直形墙\n2.支模高度：各种高度综合\n3.模版类型：木模、组合钢模板、竹胶板等综合\n4.支架材料：钢管、竹、木支架等综合\n5.本项目投标人应根据设计图、施工组织设计、现场实际情况综合报价，不论采用何种支模方式该综合单价结算不作调整","m2","49.7",null,null,""]
["","","小计","","","",null,null,""]
["","","垂直运输","","","",null,null,""]
["6","011703001039","垂直运输","1. 建筑物建筑类型及结构形式 ：详图纸\n2. 地下室建筑面积 ：详图纸\n3. 建筑物檐口高度、层数：详图纸\n4.其它：投标人应充分考虑满足招标文件、《技术标准及要求》、满足设计规范、合同的要求","项","1",null,null,""]
["","","小计","","","","",null,""]
["合　　计",{"$nulls":7},""]

{"sheet":"F.4 总价措施项目清单计价表(表-11)【装修工程】","index":6,"n_rows":16,"n_cols":11,"rows_kept":16,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,8],[1,9,1,10],[2,2,2,3],[2,7,2,8],[3,2,3,3],[3,7,3,8],[4,2,4,3],[4,7,4,8],[5,2,5,3],[5,7,5,8],[6,2,6,3],[6,7,6,8],[7,2,7,3],[7,7,7,8],[8,2,8,3],[8,7,8,8],[9,2,9,3],[9,7,9,8],[10,2,10,3],[10,7,10,8],[11,2,11,3],[11,7,11,8],[12,2,12,3],[12,7,12,8],[13,2,13,3],[13,7,13,8],[14,2,14,3],[14,7,14,8],[15,0,15,5],[15,7,15,8]]}
["总价措施项目清单计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【装修工程】",{"$nulls":4},"标段：",{"$nulls":3},""]
["序 号","项目编码","项目名称",null,"计算基础","费率\n（%）","金额\n（元）","调整费率\n(%)",null,"调整后\n金额(元)","备注"]
["1","011707001026","安全文明施工费",null,"",null,null,"",null,"",""]
["1.1","①","环境保护费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["1.2","②","文明施工费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["1.3","③","安全施工费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["1.4","④","临时设施费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["2","011707002027","夜间施工增加费",null,"",null,null,"",null,"",""]
["3","011707003028","非夜间施工照明",null,"",null,null,"",null,"",""]
["4","011707004029","二次搬运费",null,"",null,null,"",null,"",""]
["5","011707005030","冬雨季施工增加费",null,"",null,null,"",null,"",""]
["6","011707006031","地上、地下设施、建筑物的临时保护设施",null,"",null,null,"",null,"",""]
["7","011707007032","已完工程及设备保护费",null,"",null,null,"",null,"",""]
["8","011707008033","工程定位复测费",null,"",null,null,"",null,"",""]
["合　　计",{"$nulls":6},"-",null,"-","-"]

{"sheet":"G.1 其他项目清单计价汇总表(表-12)【装修工程】","index":7,"n_rows":10,"n_cols":5,"rows_kept":10,"merged":[[0,0,0,4],[1,0,1,1],[1,2,1,3],[9,0,9,1]]}
["其他项目清单与计价汇总表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【装修工程】",null,"标段：",null,""]
["序号","项 目 名 称","金额（元）","结算金额(元)","备注"]
["1","暂列金额","","","明细详见表-12-1"]
["2","暂估价","","",""]
["2.1","材料(工程设备)暂估价/结算价","-","","明细详见表-12-2"]
["2.2","专业工程暂估价/结算价","","","明细详见表-12-3"]
["3","计日工","","","明细详见表-12-4"]
["4","总承包服务费","","","明细详见表-12-5"]
["合　　计",null,"","","-"]

{"sheet":"H 规费、税金项目清单计价表(表-13)【装修工程】","index":8,"n_rows":7,"n_cols":6,"rows_kept":7,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[6,0,6,4]]}
["规费、税金项目计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【装修工程】",null,null,"标段：",null,""]
["序号","项目名称","计算基础","计算基数","计算费率（％）","金额(元)"]
["1","规费","分部分项定额人工费+单价措施项目定额人工费"]
["2","销项增值税额","分部分项工程费+措施项目费+其他项目费+规费+按实计算费用+创优质工程奖补偿奖励费-按规定不计税的工程设备金额-除税甲供材料（设备）费"]
["3","附加税","分部分项工程费+措施项目费+其他项目费+规费+按实计算费用+创优质工程奖补偿奖励费-按规定不计税的工程设备金额-除税甲供材料（设备）费"]
["合计"]

{"sheet":"F.1.1 分部分项工程清单计价表(表-08)【安装工程】","index":9,"n_rows":11,"n_cols":9,"rows_kept":11,"merged":[[0,0,0,8],[1,0,1,4],[1,5,1,6],[1,7,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[10,0,10,6]]}
["分部分项工程量清单与计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【安装工程】",{"$nulls":4},"标段：",null,""]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其   中"]
[{"$nulls":8},"暂估价"]
["1","030411001040","电气配管 SC50","1.名称：电气配管\n2.材质：镀锌钢管\n3.规格：SC50\n4.配置形式及部位：砖、混凝土结构暗配，部位综合考虑\n5.电线管路敷设及接地，管道除锈、刷油、防腐，预留孔洞、打孔洞，预留槽、剔槽及混凝土砂浆补孔洞、补槽\n6.其他要求：满足相关标准图集、规范、设计及验收要求等","m","98.36",null,null,""]
["2","030413002041","剔槽","1.名称 ：剔槽\n2.其他要求：满足相关标准图集、规范、设计及验收要求等","m","98.36",null,null,""]
["3","030408001042","电力电缆 YJV-0.6/1KV-5*10mm2","1.名称：电力电缆\n2.规格、型号：YJV-0.6/1KV-5*10mm2\n3.敷设方式：穿管、桥架、竖井、地沟敷设等综合考虑\n4.含揭(盖)桥架盖板、电缆防护、电缆环保检测、阻燃等级综合考虑\n5.其他要求：满足相关标准图集、规范、设计及验收要求等","m","100.82",null,null,""]
["4","030411006043","钢制接线盒","1.名称：钢制接线盒\n2.材质：钢制\n3.规格：两通、三通、四通综合考虑\n4.安装形式：暗装\n5.其他要求：满足相关标准图集、规范、设计及验收要求等","个","14",null,null,""]
["5","030503003044","石墨烯供暖双温型温控器","1.名称：双温型温控器\n2.型号、规格 ：详设计\n3满足设计图纸及使用功能要求","台","4",null,null,""]
["合　　计",{"$nulls":7},""]

{"sheet":"F.1.2 单价措施项目清单计价表(表-08)【安装工程】","index":10,"n_rows":6,"n_cols":9,"rows_kept":6,"merged":[[0,0,0,8],[1,0,1,4],[1,5,1,6],[1,7,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[5,0,5,6]]}
["单价措施项目清单与计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【安装工程】",{"$nulls":4},"标段：",null,""]
["序 号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["合　　计",{"$nulls":6},"",""]

{"sheet":"F.4 总价措施项目清单计价表(表-11)【安装工程】","index":11,"n_rows":15,"n_cols":11,"rows_kept":15,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,8],[1,9,1,10],[2,2,2,3],[2,7,2,8],[3,2,3,3],[3,7,3,8],[4,2,4,3],[4,7,4,8],[5,2,5,3],[5,7,5,8],[6,2,6,3],[6,7,6,8],[7,2,7,3],[7,7,7,8],[8,2,8,3],[8,7,8,8],[9,2,9,3],[9,7,9,8],[10,2,10,3],[10,7,10,8],[11,2,11,3],[11,7,11,8],[12,2,12,3],[12,7,12,8],[13,2,13,3],[13,7,13,8],[14,0,14,5],[14,7,14,8]]}
["总价措施项目清单计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【安装工程】",{"$nulls":4},"标段：",{"$nulls":3},""]
["序 号","项目编码","项目名称",null,"计算基础","费率\n（%）","金额\n（元）","调整费率\n(%)",null,"调整后\n金额(元)","备注"]
["1","031302001045","安全文明施工费",null,"","",null,"",null,"",""]
["1.1","①","环境保护费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["1.2","②","文明施工费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["1.3","③","安全施工费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["1.4","④","临时设施费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["2","031302002046","夜间施工增加费",null,"","",null,"",null,"",""]
["3","031302003047","非夜间施工增加",null,"","",null,"",null,"",""]
["4","031302004048","二次搬运费",null,"","",null,"",null,"",""]
["5","031302005049","冬雨季施工增加费",null,"","",null,"",null,"",""]
["6","031302006050","已完工程及设备保护费",null,"","",null,"",null,"",""]
["7","031302008051","工程定位复测费",null,"","",null,"",null,"",""]
["合　　计",{"$nulls":6},"-",null,"-","-"]

{"sheet":"G.1 其他项目清单计价汇总表(表-12)【安装工程】","index":12,"n_rows":10,"n_cols":5,"rows_kept":10,"merged":[[0,0,0,4],[1,0,1,1],[1,2,1,3],[9,0,9,1]]}
["其他项目清单与计价汇总表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【安装工程】",null,"标段：",null,""]
["序号","项 目 名 称","金额（元）","结算金额(元)","备注"]
["1","暂列金额","","","明细详见表-12-1"]
["2","暂估价","","",""]
["2.1","材料(工程设备)暂估价/结算价","-","","明细详见表-12-2"]
["2.2","专业工程暂估价/结算价","","","明细详见表-12-3"]
["3","计日工","","","明细详见表-12-4"]
["4","总承包服务费","","","明细详见表-12-5"]
["合　　计",null,"","","-"]

{"sheet":"H 规费、税金项目清单计价表(表-13)【安装工程】","index":13,"n_rows":7,"n_cols":6,"rows_kept":7,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[6,0,6,4]]}
["规费、税金项目计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【安装工程】",null,null,"标段：",null,""]
["序号","项目名称","计算基础","计算基数","计算费率（％）","金额(元)"]
["1","规费","分部分项定额人工费+单价措施项目定额人工费"]
["2","销项增值税额","分部分项工程费+措施项目费+其他项目费+规费+按实计算费用+创优质工程奖补偿奖励费-按规定不计税的工程设备金额-除税甲供材料（设备）费"]
["3","附加税","分部分项工程费+措施项目费+其他项目费+规费+按实计算费用+创优质工程奖补偿奖励费-按规定不计税的工程设备金额-除税甲供材料（设备）费"]
["合计"]

{"sheet":"F.1.1 分部分项工程清单计价表(表-08)【电梯工程】","index":14,"n_rows":7,"n_cols":9,"rows_kept":7,"merged":[[0,0,0,8],[1,0,1,4],[1,5,1,6],[1,7,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[6,0,6,6]]}
["分部分项工程量清单与计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【电梯工程】",{"$nulls":4},"标段：",null,""]
["序号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其   中"]
[{"$nulls":8},"暂估价"]
["1","030107002052","电梯 载重量=1000KG(5层5站)","1.名称:电梯\n2.技术参数:载重量=1000KG,提升速度≤1m/s，其它综合考虑\n3.层数/站数:5层5站\n4.电梯要求具备消防、无障碍、担架电梯功能，有机房、无机房等综合考虑\n5.包含电梯本体运输和安装、电梯安装所需的各类钢结构及轨道、电气装置安装、成套控制柜、随行电缆安装、对讲设备及线缆安装、电梯监控摄像机所需线缆安装、电梯调试和检测，轿厢、轿厢门、厅门装饰、电梯井道照明、检修插座、各类钢结构及轨道的除锈刷油防腐等完成电梯安装的所有工作内容\n6.电梯轿厢、厅门材质满足设计要求\n7.含电梯试运行和调试\n8.电梯轿厢装饰、空调、电梯五方通话系统全部内容及附加功能满足使用功能要求\n9.其他要求：满足相关标准图集、规范、设计及验收要求等","部","1",null,null,""]
["合　　计",{"$nulls":7},""]

{"sheet":"F.1.2 单价措施项目清单计价表(表-08)【电梯工程】","index":15,"n_rows":6,"n_cols":9,"rows_kept":6,"merged":[[0,0,0,8],[1,0,1,4],[1,5,1,6],[1,7,1,8],[2,0,4,0],[2,1,4,1],[2,2,4,2],[2,3,4,3],[2,4,4,4],[2,5,4,5],[2,6,2,8],[3,6,4,6],[3,7,4,7],[5,0,5,6]]}
["单价措施项目清单与计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【电梯工程】",{"$nulls":4},"标段：",null,""]
["序 号","项目编码","项目名称","项目特征描述","计量\n单位","工程量","金额（元）"]
[{"$nulls":6},"综合单价","合价","其中"]
[{"$nulls":8},"暂估价"]
["合　　计",{"$nulls":6},"",""]

{"sheet":"F.4 总价措施项目清单计价表(表-11)【电梯工程】","index":16,"n_rows":15,"n_cols":11,"rows_kept":15,"merged":[[0,0,0,10],[1,0,1,4],[1,5,1,8],[1,9,1,10],[2,2,2,3],[2,7,2,8],[3,2,3,3],[3,7,3,8],[4,2,4,3],[4,7,4,8],[5,2,5,3],[5,7,5,8],[6,2,6,3],[6,7,6,8],[7,2,7,3],[7,7,7,8],[8,2,8,3],[8,7,8,8],[9,2,9,3],[9,7,9,8],[10,2,10,3],[10,7,10,8],[11,2,11,3],[11,7,11,8],[12,2,12,3],[12,7,12,8],[13,2,13,3],[13,7,13,8],[14,0,14,5],[14,7,14,8]]}
["总价措施项目清单计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【电梯工程】",{"$nulls":4},"标段：",{"$nulls":3},""]
["序 号","项目编码","项目名称",null,"计算基础","费率\n（%）","金额\n（元）","调整费率\n(%)",null,"调整后\n金额(元)","备注"]
["1","031302001053","安全文明施工费",null,"","",null,"",null,"",""]
["1.1","①","环境保护费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["1.2","②","文明施工费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["1.3","③","安全施工费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["1.4","④","临时设施费",null,"税前建安工程造价（不含总价措施项目费）",null,null,"",null,"",""]
["2","031302002054","夜间施工增加费",null,"","",null,"",null,"",""]
["3","031302003055","非夜间施工增加",null,"","",null,"",null,"",""]
["4","031302004056","二次搬运费",null,"","",null,"",null,"",""]
["5","031302005057","冬雨季施工增加费",null,"","",null,"",null,"",""]
["6","031302006058","已完工程及设备保护费",null,"","",null,"",null,"",""]
["7","031302008059","工程定位复测费",null,"","",null,"",null,"",""]
["合　　计",{"$nulls":6},"-",null,"-","-"]

{"sheet":"G.1 其他项目清单计价汇总表(表-12)【电梯工程】","index":17,"n_rows":10,"n_cols":5,"rows_kept":10,"merged":[[0,0,0,4],[1,0,1,1],[1,2,1,3],[9,0,9,1]]}
["其他项目清单与计价汇总表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【电梯工程】",null,"标段：",null,""]
["序号","项 目 名 称","金额（元）","结算金额(元)","备注"]
["1","暂列金额","","","明细详见表-12-1"]
["2","暂估价","","",""]
["2.1","材料(工程设备)暂估价/结算价","-","","明细详见表-12-2"]
["2.2","专业工程暂估价/结算价","","","明细详见表-12-3"]
["3","计日工","","","明细详见表-12-4"]
["4","总承包服务费","","","明细详见表-12-5"]
["合　　计",null,"","","-"]

{"sheet":"H 规费、税金项目清单计价表(表-13)【电梯工程】","index":18,"n_rows":7,"n_cols":6,"rows_kept":7,"merged":[[0,0,0,5],[1,0,1,2],[1,3,1,4],[6,0,6,4]]}
["规费、税金项目计价表"]
["工程名称：四川里伍铜业股份有限公司康定办公楼改造\\单项工程1【电梯工程】",null,null,"标段：",null,""]
["序号","项目名称","计算基础","计算基数","计算费率（％）","金额(元)"]
["1","规费","分部分项定额人工费+单价措施项目定额人工费"]
["2","销项增值税额","分部分项工程费+措施项目费+其他项目费+规费+按实计算费用+创优质工程奖补偿奖励费-按规定不计税的工程设备金额-除税甲供材料（设备）费"]
["3","附加税","分部分项工程费+措施项目费+其他项目费+规费+按实计算费用+创优质工程奖补偿奖励费-按规定不计税的工程设备金额-除税甲供材料（设备）费"]
["合计"]